Issue Date: 16/08/18

Installation & Maintenance instructions for ORE

Important Information

These instructions should be read carefully and retained after installation for further reference and maintenance.

Before installation or maintenance ensure that the mains supply to the luminaire is switched off and the circuit supply fusses are removed or circuit breaker turned off.

A qualified electrician must be consulted or used for the installation of this luminaire.

This luminaire must be installed to the current edition of the IEE wiring regulations and relevant building regulations.

Check that the total load in the circuit, including when this luminaire is fitted, does not exceed the rating of the circuit cable fuse or circuit breaker.

This product comes with a 3 year warranty.

Installation:

- Disconnect the power before commencing with the installation.

- Cut out a circular hole of 102mm in the surface where you would like to fit the light.

- Feed your electrical cable through the fitting Ore housing as in figure 1 below.

- Secure the housing to the surface using suitable fixings.

- Wire in your electrical cable into the terminal block on the fitting matching up the live, neutral and earth wires.

- Place the light fitting into the housing and secure with the two screws provided.